## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-I(4192) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | State the Lambert Beers law. |  |
| b) | State the difference between sterilization & disinfection. |  |
| c) | Write a short note on power sources used in a clinical laboratory. |  |
| d) | Explain the agents of sterilization in brief. |  |
| e) | Write a short note on sterilization by moist heat. |  |
| f) | Write a short note on specific ion electrode. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat sketch explain the principle of working of a blood cell counter using the Dark field method. |  |
| b) | Explain the flame photometer in detail. |  |
| c) | Explain the test carried out to test disinfection. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a short note on optical filters used in a clinical laboratory. |  |
| b) | Explain the continuous flow analyzer in detail. |  |
| c) | With a neat sketch explain the working of an autoclave instrument. |  |
| Q.No.4. | With a neat diagram explain the working of PCO2 & PO2 electrodes. | (12) |
| Q.No.5. | Answer the following questions: | 2 x 6 = 12 |
| a) | Explain the basic principle & working of pH electrode. |  |
| b) | Explain the various chemical agents used for sterilization in detail. |  |
| Q.No.6. | Answer the following Questions: | 3 x 4 = 12 |
| a) | Write short notes on plasma & serum. |  |
| b) | Write a short on Haematocrit determination. |  |
| c) | Write a short on steamer used for sterilization. |  |

***********