## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Electronics Engg./EC/EI/E/E&EE

Subject: Electronic Instrumentation (EN404) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Give three points of difference between analog and digital transducer. |  |
| b) | List any three materials used in the manufacture of thermocouple. |  |
| c) | What is the principle of piezoelectric accelerometer? |  |
| d) | List three features of X-Y plotter. |  |
| e) | Give three application areas of process control system. |  |
| f) | What is the principle of magnetic pickup in the sped measurement? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Give three objectives of instrumentation system and three points of difference between active and passive transducers. |  |
| b) | Draw the block diagram of an instrumentation system and explain the function of each block. |  |
| c) | Explain speed measurement using photoelectric pick up method. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the construction, operation and characteristics of thermistor. |  |
| b) | Explain the working of semi conductor type strain gauge. |  |
| c) | Explain the construction and working of shaft encoder. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain angular displacement measurement using capacitive transducer. |  |
| b) | Explain pressure measurement using diaphragm and strain gauge. |  |
| c) | Explain level measurement using float operated resistive method. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is the need for signal conditioning? Give three points. What is the use of AC amplifiers and filters in signal conditioning? |  |
| b) | Draw the block diagram of strip chart recorder and explain its working. |  |
| c) | Explain the working of instrumentation amplifier using op-Amps. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | SCADA Instrumentation system |  |
| b) | List four application areas of Data Acquisition system |  |
| c) | Process control system |  |
| d) | LVDT construction and operation |  |

***********