## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Architectural Engg.

Subject: Building Construction-IV(4528) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define Plinth. |  |
| b) | How can light and ventilation be achieved in a door even if the door is closed? |  |
| c) | Name any 3 causes of dampness. |  |
| d) | Define ‘landing’ in a staircase. |  |
| e) | What are the advantages of pre-cast concrete floor. |  |
| f) | Why is water protection system important while constructing a building? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat plan and cross section of a timber door with glazed panelled shutter fixed into a timber frame. |  |
| b) | Explain with a neat sketch the damp proofing using a cavity wall construction. |  |
| c) | Explain with a neat sketch a pre-cast spiral staircase for a height of 3 metres. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain with a neat labelled sketch, the damp proofing of basement walls. |  |
| b) | Explain any two methods of damp proofing in detail. |  |
| c) | Explain with a neat labelled sketch, the water proofing for a terrace with parapet walls around. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain with a neat labelled sketch, the construction of a simple timber staircase. |  |
| b) | Explain with a simple sketch any 4 different types of Steps, which can be used for the construction of a stone staircase. |  |
| c) | List the important factors required to be considered while designing a staircase. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain with sketches any two classification of R.C.C. floor. |  |
| b) | Explain with a neat sketch the construction of a double joist timber upper floor. |  |
| c) | Explain the plinth requirement to be considered for a 2 BHK house on a sloping plot. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain in detail the sub-components of a plinth. |  |
| b) | Draw a neat sectional diagram and explain a filler joists floor. |  |
| c) | Describe with a diagram the Asphalt tanking method of damp proofing. |  |

***********