## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-II(MX403) [Revised]

# Time Duration: 3 Hrs.                                           Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | Define Transducer and give the classification of Transducers. |  |
| b) | Write a note on EEG. |  |
| c) | Explain any one type of hearing aid. |  |
| d) | How can you measure the cardiac output using dye dilution method? |  |
| Q.No.2. | Answer the following Questions: | 2 x 6 = 12 |
| a) | With the help of a neat diagram explain how LVDT can be used for the measurement of physiological pressures. |  |
| b) | Write a short note on Thermistors. |  |
| Q.No.3. | Answer the following Questions: | 2 x 6 = 12 |
| a) | With the help of a neat diagram explain what is an EMG? |  |
| b) | Describe the multi-channel ECG machine with a neat diagram. |  |
| Q.No.4. | Answer the following Questions: | 2 x 6 = 12 |
| a) | What is an evoked response audiometry system? Explain. |  |
| b) | Describe the mechanism of hearing and explain how the sound is measured. |  |
| Q.No.5. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of electromagnetic type of blood flow meter. |  |
| b) | Write a short note on Plethysmography. |  |
| Q.No.6. | Write short note on any three: | 3 x 4 = 12 |
| a) | Photoemissive Cells |  |
| b) | Strain Gauges |  |
| c) | Apex Cardiograph |  |
| d) | Evoked Potentials |  |

***********