## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Mechanical Engg.

Subject: Metrology & Quality Control(4047) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. |  | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- | --- |
| a) |  | Classify the given instruments as ‘line standard’ and ‘end standard’: i) A steel rule ii) Measuring tape iii) Gear tooth Vernier. |  |
| b) |  | Differentiate between quality control and quality assurance. |  |
| c) |  | How can a straight edge be used to check straightness? |  |
| d) |  | Give classification of comparators. |  |
| e) |  | Explain the term: Quality Policy. |  |
| f) |  | What is meant by normal distribution curve? |  |
| g) |  | How is a screw pitch gauge used? |  |
| Q.No.2. |  | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) |  | Define the terms: precision and accuracy with suitable examples. |  |
| b) |  | List out the various instruments used for angular measurements. |  |
| c) |  | Differentiate between Hole base system and shaft base system. |  |
| Q.No.3. |  | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) |  | Enlist the various alignment tests used in setting up a lathe and describe any two tests in detail. |  |
| b) |  | With a neat sketch, explain the internal working of a dial gauge indicator. |  |
| c) |  | Explain how the major diameter of an external thread is measured. |  |
| Q.No.4. | Answer any two of the following Questions: |  | 2 x 6 = 12 |
| a) | Draw a neat sketch of a Gear tooth Vernier and explain how it can be used to find the tooth thickness. |  |  |
| b) | In case of a C-chart, the number of rivets missing in the assembly units of rail coaches is found as follows: |  |  |
|  | Unit No.; 1; 2; 3; 4; 5; 6; 7; 8; 9; 10; Total. No. of rivets missing; 8; 16; 19; 11; 14; 7; 27; 16; 17; 15; 150. i) Determine the control limits of this chart. ii) Is there any point which falls out side the control limits? iii) Sketch the chart and mark important points. |  |
| c) | Draw an OC-curve and explain the following terms: i) Producer’s risk ii) LTPD iii) AOQL. |  |  |
| Q.No.5. | Answer any two of the following Questions: |  | 2 x 6 = 12 |
| a) | Explain single and double sampling plans. |  |  |
| b) | - What is meant by specifications of quality? - Explain the three main elements of quality function. |  | ……2/- |
|  | -2- |  |  |
| c) | The following data refers to a set of 13 samples. Calculate LCLx, UCLx, LCLR, UCLR. Sample No.; Average X; Range, R. 1; 6.1; 3.2. 2; 5.2; 3.4. 3; 4.8; 2.2. 4; 5.4; 1.6. 5; 3.9; 1.8. 6; 5.3; 2.4. 7; 5.2; 2.4. 8; 4.3; 2.9. 9; 4.1; 2.3. 10; 4.3; 1.6. 11; 4.0; 1.3. 12; 5.4; 3.0. 13; 3.6; 1.4. The constants to be used for above computations are: A2 = 0.729, D3 = 0, D4 = 2.282. |  |
| Q.No.6. | Answer any four of the following Questions: |  | 4 x 3 = 12 |
| a) | Distinguish between “Quality of design” and “Quality of conformance” |  |  |
| b) | What is meant by cost and value of quality? |  |  |
| c) | How is ‘Quality mindedness’ generated within organisations? |  |  |
| d) | Write a note on designating surface roughness on drawings. |  |  |
| e) | State Taylor’s principle of gauge design and explain its meaning. |  |  |

***********