## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Civil Engineering/CT

Subject: Public Health Engineering(CE404)  [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What are the ground water sources and surface water sources? State the advantages and limitations of each. |  |
| b) | Write the names of any three water borne diseases and define water borne disease. |  |
| c) | How do you estimate fire demand of water? Write some formulae and mention its approximate value in l.p.c.d. for Indian cities. |  |
| d) | Draw a neat labelled section of a septic tank. |  |
| e) | Define: Dry refuse, rubbish, garbage. Also state the common constituents of each. |  |
| f) | Define: Sewage, sullage, sewer, invert level, self cleansing velocity, dry weather flow. |  |
| g) | Write short notes on any latest technology in sewage treatment for housing complexes. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Enlist any 3 physical characteristics, 3 chemical characteristics. Indicate the safe permissible values of each. |  |
| b) | What are the 5 important water demands? Explain each in brief. Show the values of each for an average Indian city. |  |
| c) | Draw neat sketch of a rapid sand filter and label the components & valves. Explain its working with reference to the valve numbers in the sketch. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write any 6 points on Environmental protection and its importance. |  |
| b) | Write any 6 advantages of continuous system of water supply over intermittent supply. |  |
| c) | What is meant by disinfection? State any 3 methods of disinfection. What are the advantages of use of chlorine as disinfectant over other methods? Write point wise. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Mention any three forms of chlorine used as disinfection of water. Show the chemical reactions of each indicating the product that is responsible for killing of bacteria. |  |
| b) | Explain with sketches the 4 methods of distribution layout systems of water supply. Mention suitability of each system. |  |
| c) | Draw neat sketch of a building of Ground+2 including section of the front road, showing water supply plumbing details such as ferrule joint, gooseneck joint, meter, over head tank, supply to various points of apartment at each floor. |  |
|  |  | …..2/- |
|  | -2- |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Show any 6 comparisons of watercarriage system and conservancy system of disposal of sanitary waste. |  |
| b) | Explain working of a trickling filter with a neat sectional sketch. |  |
| c) | What are the sludge digesters? What is the principle of its working? Explain in brief with a sketch. |  |
| Q.No.6. | Answer any four of the following Questions: | 4 x 3 = 12 |
| a) | What are the duties and responsibilities of a Public Health Engineer to keep a good environment and provide healthy life for the people of his town? Write any 6 points. |  |
| b) | Explain any method to test a newly laid house drainage/plumbing for its leak proof and soundness before putting it to use. |  |
| c) | Write any 6 points to be considered while designing an efficient layout of a drainage system for a building. |  |
| d) | What are ‘Traps’ in a building? Show their types and mention their functions. |  |
| e) | Explain compost making method of disposal of organic wastes. |  |

***********