## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Electronics Engg./EC/E/E&EE

Subject: Electronics Instrumentation(4141) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Mention: i) 2 Resistive transducers ii) 2 Temperature measuring transducers iii) 2 Inductive transducers. |  |
| b) | Explain the working of stroboscope. |  |
| c) | State characteristic of ideal instrumentation amplifier. |  |
| d) | Explain shaft encoder. |  |
| e) | Name: i) 3 methods of level measurement ii) 3 methods of thickness measurement. |  |
| f) | Define: i) Set point ii) Process control iii) Manipulated variable. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of thermocouple in detail. What are its limitations? |  |
| b) | Write a note on characteristics of a good transducer. |  |
| c) | What are the various ways in which capacitive transducers attain variation in capacitance? Explain with neat figures. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain photo multiplier tube with neat diagram. |  |
| b) | Explain DC tachometer to measure angular speed. Give one advantage & one disadvantage. |  |
| c) | Mention various transducers used for sound measurement. Explain any one with a neat diagram. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of magnetic flow meter. State its advantages & disadvantages. |  |
| b) | Explain resistive method of level measurement. |  |
| c) | Explain ultrasonic method of thickness measurement. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw & explain block diagram of Data acquisition system. |  |
| b) | Explain OP-Amp as ideal instrumentation amplifier. |  |
| c) | Explain DC signal conditioning system with neat block diagram. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write notes on: i) Synchros ii) Control valves. |  |
| b) | Draw & explain block diagram of final control operation. |  |
| c) | Write short note on discontinuous controller mode. |  |

***********