## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-III(4196)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Write a note on ECG chest leads. |  |
| b) | Enlist the different EEG patterns along with the frequency ranges. |  |
| c) | Distinguish between AC defibrillator and DC defibrillator. |  |
| d) | What is a pacemaker and when it is used? |  |
| e) | What are Korotkoff’s sounds? |  |
| f) | What are the desirable properties of an indicator dye used in blood flow meter? |  |
| g) | What is a spirometer and when it is used? |  |
| h) | Explain any two applications of radio telemetry. |  |
| Q.NO.2. | Draw a neat sketch of the basic waveform of a normal ECG and explain the different intervals. Give the typical values of the durations and amplitudes of each. | (12) |
|  | ### OR |  |
| Q.NO.2. | Answer the following Questions: |  |
| a) | State the uses of EEG in diagnosis. | (6) |
| b) | Write a short notes on Multi-channel FDM radio telemetry. | (6) |
| Q.No.3. | Answer the following Questions: |  |
| a) | Explain the working of an electronic blood pressure measurement system. | (6) |
| b) | Explain indirect measurement of blood pressure. | (6) |
| Q.No.4. | With the help of neat figures explain the working of electromagnetic blood flow meter and thermal convection blood flow meter. | (12) |
| Q.No.5. | Answer the following Questions: | 3 x 4 = 12 |
| a) | Write a short note on ventilator. |  |
| b) | Explain the working of Ultrasonic Blood Flow meter. |  |
| c) | Name two bio-electric and physiological variables that can be measured using biotelemetry. |  |
| Q.No.6. | Write a short note on any three: | 3 x 4 = 12 |
| a) | Lung volumes and capacities |  |
| b) | Pneumotachograph |  |
| c) | Synchronous Pacemaker |  |
| d) | DC defibrillator |  |

***********