## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Civil Engg./CT

Subject: Building Construction(CE302) [Revised]

# Time Duration: 3 Hrs.                                           Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | State various site investigations you would make for execution of structure. |  |
| b) | What is the necessity of finding bearing capacity of soil before constructing building foundation? |  |
| c) | Write down the characteristics of good building stone. |  |
| d) | Mention standard size & weight of modular brick. |  |
| e) | Draw a neat sketch of panelled door showing its components. |  |
| f) | What are requirements of a good building roof? |  |
| g) | Mention common materials which are used for flooring. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the essentials of a good foundation? How will you design width & depth of shallow foundation? |  |
| b) | Explain various loads coming on foundation & column footings. |  |
| c) | With a neat sketch explain coursed & uncoursed rubble masonry. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the aid of neat sketch explain the method of construction of 1 brick thick double Flemish bond masonry. |  |
| b) | Draw a neat labelled sketch of: i) Ledged and braced door ii) Metal window. |  |
| c) | With the help of neat sketch of pitched roof explain the following: i) Eaves ii) Ridge iii) Hip iv) Pitch v) Rafters. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Describe the construction of: i) Red Oxide flooring ii) I.P.S flooring. |  |
| b) | With the help of neat sketch describe various terms associated with staircase. Explain dog-legged staircase. |  |
| c) | Explain the procedure of external plastering. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain concept of fire proofing in modern multi-storey building. |  |
| b) | With a neat sketch explain situation for construction of raft foundation for building. |  |
| c) | Explain points to be observed in construction of good brickwork. |  |
| Q.No.6. | Write notes on any four: | 4 x 3 = 12 |
| a) | Location of stair |  |
| b) | Marble flooring |  |
| c) | Dormer window |  |
| d) | Setting out a building |  |
| e) | Dressing of stones |  |
| f) | Single scaffolding |  |

***********