## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2012 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-I(4192)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | List the instruments used in a clinical laboratory. |  |
| b) | Draw an equivalent circuit of a bio potential electrode. |  |
| c) | Name the different constituents of blood plasma. |  |
| d) | Explain uses of PO2 electrodes. |  |
| e) | Explain Nernst equation. |  |
| f) | What is a specific ion electrode? |  |
| g) | What are the uses of a colorimeter? |  |
| Q.No.2. | Write notes on any two: | 2 x 6 = 12 |
| a) | Blood cell counters |  |
| b) | Spectrophotometer |  |
| c) | Computers in clinical laboratory |  |
| Q.No.3. | Answer any two: | 2 x 6 = 12 |
| a) | Describe any one test carried out on blood cells. State the purpose of the test. |  |
| b) | Describe any one test carried out on serum. |  |
| c) | Explain the uses of and operation of a dark field microscope with a neat sketch. |  |
| Q.No.4. | Answer any two: | 2 x 6 = 12 |
| a) | Describe the tests carried out to test disinfection. |  |
| b) | Explain how autoclave is used for sterilization with a neat sketch. |  |
| c) | Explain working and applications of a steamer. |  |
| Q.No.5. | Answer the following: | 2 x 6 = 12 |
| a) | With a neat sketch describe the basic electrode theory. |  |
| b) | Write a note on biochemical transducers. |  |
| Q.No.6. | Write short notes on: | 3 x 4 = 12 |
| a) | Flow through a liquid membrane |  |
| b) | Wavelength selectors |  |
| c) | pH meter |  |

***********