## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2012 Examinations

Programme: Architectural Engg.

Subject: Building Construction-II(4521)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Why is centering required in the construction of an Arch? |  |
| b) | List the materials used for cladding of wall finishes. |  |
| c) | Differentiate between shallow & deep foundation. |  |
| d) | Draw sketches to show different shapes in brick piers. |  |
| e) | Mention factors affecting choice of flooring materials. |  |
| f) | What is dressing? Why it is required for natural stone? |  |
| g) | State the necessity of bonding the composite materials. Give example. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the general requirements of a good foundation? |  |
| b) | Differentiate between a load bearing structure and a framed structure. |  |
| c) | Define foundation and mention their objects. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the points to be observed while supervising of stone masonry construction? |  |
| b) | Draw a neat sketch of a section of a wall of a one storeyed building showing the technical terms. |  |
| c) | Differentiate between ‘Brick masonry’ and ‘Stone masonry’. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is a ‘Lintel’? Where and When it is provided? Show with the help of neat sketch its section and elevation. |  |
| b) | Draw a neat sketches to illustrate the classification of Arches according to shape. |  |
| c) | Sketch and explain the following components of an ‘Arch’. - Key stone - Rise - Intrados - Spandril - Springing point - Hannch. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is meant by cladding? Mention the different types of materials used for cladding and their suitability. |  |
| b) | Draw a neat sketche of spiral staircase and dog legged staircase. |  |
| c) | Mention the types of staircase based on materials used and explain where and why they are used. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Composite materials |  |
| b) | Stability of Arch |  |
| c) | Cladding materials |  |
| d) | Requirement of good stair |  |
| e) | Bonds in Brickwork |  |

***********