## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2012 Examinations

Programme: Food Technology

Subject: Industrial Water & waste Treatment(4274)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | Define the importance of Dissolve oxygen (DO) and Bio-chemical oxygen Demand (BOD). |  |
| b) | Write short notes on pH and acidity. What is fixed, volatile and total acidity? |  |
| c) | Discuss the methods used for treatment of municipal water. |  |
| d) | Write short notes on: |  |
|  | a) Water borne diseases b) Malaria Parasite. |  |
| Q.No.2. | Answer any two of the following: | 2 x 6 = 12 |
| a) | Discuss the importance of routine chemical and bacteriological analysis of water. |  |
| b) | What are the general water purification methods used in industries? Discuss the process of reverse osmosis. |  |
| c) | What is the necessity to treat waste water before its disposal? |  |
| Q.No.3. | Write the methods of estimation of the following: (any three) | 3 x 4 = 12 |
| a) | Total solid content of the water sample |  |
| b) | Total plate count |  |
| c) | Chlorine demand and residual chlorine |  |
| d) | Total Hardness |  |
| Q.No.4. | Answer any two of the following: | 2 x 6 = 12 |
| a) | Discuss the characteristics of (i) Brewery waste (ii) Meat and Fish processing waste. |  |
| b) | Write in detail the microbial source of contamination. Give the significance of index organisms. |  |
| c) | Discuss in details with neat sketch about various types of filters used for water treatment plant. |  |
| Q.No.5. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Disinfection methods |  |
| b) | Chemical oxygen Demand |  |
| c) | Characteristics of municipal waste water |  |
| d) | Analysis of treated water sample |  |
| Q.No.6. | Answer any two of the following: | 2 x 6 = 12 |
| a) | How malaria is spread through mosquitoes? Discuss suitable methods to curb this disease from spreading. |  |
| b) | Discuss in details the common source of water impurities and contaminants. |  |
| c) | Discuss the typical methods of treatment of municipal water. |  |

***********