## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2012 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-III(4196)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Write a note on eithoren triangle. |  |
| b) | Write a note on single channel telemetry system. |  |
| c) | How the risk due to high voltage can be eliminated in a dc defibrillator? |  |
| d) | With reference to EEG explain paradoxical sleep. |  |
| e) | How ‘Light sleep’ and ‘Deeper sleep’ can be distinguished from EEG patterns? |  |
| f) | What are the desirable prosperities of indicator dye used in blood flow meter? |  |
| g) | What are augmented chest leads? |  |
| Q.No.2. | What is ECG? With the help of neat block diagram explain working of ECG machine. | (12) |
|  | ### OR |  |
| Q.No.2. | Answer the following: |  |
| a) | Write a note on synchronous pacemaker. | (6) |
| b) | Write a note on wedge Spirometer. | (6) |
| Q.No.3. | Describe the methods of direct blood pressure measurement with the help of a diagram. | (12) |
|  | ### OR |  |
| Q.No.3 | Answer the following: |  |
| a) | Write a note on EEG and describe 10-20 electrode placement configuration. | (6) |
| b) | Define the following: i)Inpriatory capacity ii)Residual volume iii)Tidal volume. | (6) |
| Q.No.4. | With the help of neat diagram explain the principle and working of ultrasonic of Doppler blood flow measurement. | (12) |
| Q.No.5. | Answer the following: | 3 x 4 = 12 |
| a) | What is capacitance plethysmography? |  |
| b) | What is meant by CMRR? |  |
| c) | Explain how AM signal can be demodulated. |  |
| Q.No.6. | Write a short note on any 3 of the following: | 3 x 4 = 12 |
| a) | Ventilator |  |
| b) | Defibrillator electrodes |  |
| c) | Multichannel FDM radio telemetry |  |
| d) | Defibrillator |  |

***********