## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2012 Examinations

Programme: Electronics Engg./E/EC

Subject: Electronic Instrumentation(4141)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | State three differences between: i)RTD and Thermistor ii) Photodiode and Phototransistor. |  |
| b) | Differentiate between active and passive transducer. |  |
| c) | State basic principle of hygrometer. |  |
| d) | State basic principle of pirani gauge. |  |
| e) | State any two methods to measure linear displacement. |  |
| f) | State characteristics of ideal instrumentation amplifier. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of neat diagram, explain how a shaft encoder can transduce sixteen analog positions into 4-bit output. |  |
| b) | Explain the principle, construction and operation of LVDT. What is residual voltage? What are the causes for it? |  |
| c) | Describe the materials used in R.T.D’s along with their properties. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State six advantages of electrical transducers. What is seebeck effect? In which transducer is it employed? Write a note on piezoelectric transducers. |  |
| b) | What are the various techniques of attaining variation in self and mutual inductance? Briefly explain transducers based on above. |  |
| c) | Explain principle of thermocouple. What are the special considerations, when using thermocouples? |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Describe two electrical methods of thickness measurement. How can nuclear techniques be employed in thickness measurement? |  |
| b) | Explain briefly two techniques each of: - Vibration measurement - Level measurement. |  |
| c) | Explain two electromechanical techniques of pressure measurement using force summing devices. Why do these techniques fail at low pressure? |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain any two opamp circuits useful in instrumentation. Draw DC bridge circuit. |  |
| b) | Explain the features, operation of data logger with block diagram. |  |
| c) | Draw block diagram and explain features of data acquisition system. |  |

……2/-

-2-

| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | Write notes on: - Actuators - DDC and its features |  |
| b) | With help of example, explain - Two process characteristics - Two control system characteristics. |  |
| c) | Write notes on: - Synchros - Control Valves |  |

***********