## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2012 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-II(4194)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer briefly: (any three) | 3 x 5 = 15 |
| --- | --- | --- |
| a) | Explain the basic principles of radiation therapy. |  |
| b) | Briefly describe the use of heat and cold in medicine. |  |
| c) | Explain the use of an operational amplifier as a voltage source. |  |
| d) | How is a step function used to faithfully reproduce an event? |  |
| Q.No.2. | Answer the following: |  |
| a) | What is the physical basis of heat and temperature? Explain any one thermo-therapy technique. | (8) |
| b) | Write briefly on any two: i) Hyperbaric Oxygen Therapy ii) Microwave Therapy iii) Safety with cryogenics. | 2 x 2 = 4 |
| Q.No.3. | Answer the following: |  |
| a) | What are active transducers? Explain different types of photoelectric transducers. | (8) |
| b) | Write briefly on any two: | 2 x 2 = 4 |
|  | i)How is a Wheatstone bridge used as a transducer? |  |
|  | ii)Briefly explain unbonded strain gauge. |  |
|  | iii)How can a piezoelectric crystal be used as a transducer? |  |
| Q.No.4. | Answer the following: |  |
| a) | Explain the working of the following: - Geiger Muller Counter - Photomultiplier tube. | (4) (4) |
| b) | Answer any two: | 2 x 2 = 4 |
|  | i)Explain the purpose of a gamma camera. |  |
|  | ii)What is CMRR? |  |
|  | iii)What are the principles of radiotherapy treatment planning? |  |
| Q.No.5. | Answer any three of the following: | 3 x 4 = 12 |
| a) | What are inverting and non-inverting amplifiers? |  |
| b) | What is a differential amplifier? Explain a differential amplifier with controlled gain. |  |
| c) | What are the interferences in bio-potential measurements? |  |
| d) | What is the advantage of operational amplifiers in tandem? |  |
| Q.No.6. | Write notes on any three: | 3 x 4 = 12 |
| a) | Capacitive transducers |  |
| b) | Short wave diathermy |  |
| c) | Positron camera |  |
| d) | Damped Resonant sytems |  |

***********