## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2012 Examinations

Programme: Architectural Engg

Subject: Building Services-II(4533)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five in short: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define thermal conductivity of a material. What is its significance in choosing for thermal insulation? |  |
| b) | What is air conditioning? List its purpose in the various area of use. |  |
| c) | Explain Acoustics. |  |
| d) | What is meant by Mechanical ventilation? |  |
| e) | How is noise transmitted? List the different ways and explain briefly |  |
| f) | What is the function of the Evaporator in the A/C unit? |  |
| Q.No.2. | Answer the following: | 2 x 6 = 12 |
| a) | Name and describe the different methods of Mechanical ventilation. |  |
| b) | What do you mean by humidification and dehumidification? Briefly explain why and how each is carried out. |  |
| Q.No.3. | Answer any two of the following: | 2 x 6 = 12 |
| a) | Explain general principles of thermal insulation. |  |
| b) | Explain the thermal insulation adopted for roofs, walls and floors using any two types of thermal insulation material. |  |
| c) | Explain and draw sketches to show thermal insulation adopted for slopping roofs. |  |
| Q.No.4. | Answer the following: | 2 x 6 = 12 |
| a) | Write short notes on: - Protection of openings from fire - Means of fire escape. |  |
| b) | Mention the precautionary measures, which can be taken to avoid or minimize dangers of fire. |  |
| Q.No.5. | Answer the following: | 2 x 6 = 12 |
| a) | What do you understand by reverberation? Define reverberation time and optimum time of reverberation. Briefly comment on the optimum time of reverberation in a music hall as compared to that in a lecture hall. |  |
| b) | Mention any three defects mostly noted in an auditorium and explain their remedy. |  |
| Q.No.6. | Answer the following | 2 x 6 = 12 |
| a) | Explain the methods of insulation when the noise is in the room itself. |  |
| b) | What are the conditions for good acoustics in a Auditorium? |  |

***********