## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2012 Examinations

Programme: Common

Subject: Elements of Electrical Engineering(3001)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | State any 3 I.E. rules relevant to wiring installation. |  |
| b) | What is the purpose of earthing? |  |
| c) | Explain voltage regulation of a transformer. |  |
| d) | Why is the transformer core laminated? |  |
| e) | How do you reverse the direction of rotation incase of 3 induction motor? |  |
| f) | What are the functions of a reversing switch & limit switch? |  |
| g) | Define fuse, state the types of fuses. |  |
| Q.No.2. | Answer any two of the following: | 2 x 6 = 12 |
| a) | Explain the construction of PVC insulated power cable with the help of a neat-labelled diagram. |  |
| b) | Describe the installation method of laying cable directly into ground. Also mention the properties of the cable to be buried in ground. |  |
| c) | Distinguish between overhead & underground distribution system. |  |
| Q.No.3. | Answer any two of the following: | 2 x 6 = 12 |
| a) | Write a note on conduit wiring. |  |
| b) | With a neat diagram explain ‘Insulation resistance test’ between phase wire & neutral wire of a wiring installation. |  |
| c) | Explain the installation method of pipe earthing with a neat diagram. |  |
| Q.No.4. | Answer any two of the following: | 2 x 6 = 12 |
| a) | Explain different methods of cooling used for transformers. |  |
| b) | Classify DC motors. Explain why DC shunt motor is called as constant speed motor. |  |
| c) | Draw a neat-labelled diagram of a 3 point starter & explain. |  |
| Q.No.5. | Answer any two of the following: | 2 x 6 = 12 |
| a) | Up to what rating AC motors can be started direct on line? Hence explain D.O.L. starter with a neat diagram. |  |
| b) | Explain the construction & working of a single phase induction motor. Explain why the same is not self-starting. |  |
| c) | Mention the construction, working principle and applications of Universal motor. |  |
| Q.No.6. | Answer any two of the following: | 2 x 6 = 12 |
| a) | Explain the starting of slip ring induction motor with a neat diagram. |  |
| b) | Why ELCB is used in electrical installation? Explain its working with a neat labelled diagram. |  |
| c) | Write a short note on Time delay relays. |  |

***********