## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2013 Examinations

Programme: Electronics & Instrumentation Engg,

Subject: Basic Control Engineering(4219)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Draw the block diagram of multivariable control system and give any 2 practical examples of the same. |  |
| b) | Draw the characteristic curve of ideal and poor Potentiometer and comment on linearity of the component. |  |
| c) | Write a brief note on any one shaft encoder. |  |
| d) | If x(t)=5e−3t, find the laplace transform of ddtx(t). |  |
| e) | For the second order system with K=9, J=1 and F=6, find damping ratio, damping frequency and time constant. |  |
| f) | Define gain margin and phase margin of control system. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram, explain any temperature control application of control system. |  |
| b) | Draw the diagram of A.C. tachometer and explain its working. |  |
| c) | List the classification of control system and briefly explain each type. |  |
| Q.No.3. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | Briefly explain the working of synchro transmitter and synchro transformer. |  |
| b) | Using diagram, describe the principle of working of D.C. generator. |  |
| c) | Draw the diagram of rotary POT and D.C. tachometer and list their transfer function. |  |
| d) | What is meant by marginally stable, absolutely stable and conditionally stable? |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Obtain the transfer function for the network shown in fig.4.a. |  |
| b) | Describe the steps for obtaining the reduced block diagram for the closed loop control system shown in fig.4.b. |  |
| c) | Draw the schematic of 2nd order positional servomechanism, state its Transfer function and obtain its response to unit step & unit ramp input. |  |

………2/-

-2-

| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | Sketch the transient response (time response) of a 2nd order system for various damping factors. Mark important regions and points and explain associated terms. |  |
| b) | Find the expression of steady state error for a unity feedback system with loop gain HG(s)=60s(s+2). If a step input of 5° is applied, find its steady state error. |  |
| c) | A unity feedback control system has G(s)=1(s+10)(s+5). Draw the bode plot for the system. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | A linear system is described by the differentiate equation d2ydt2+5dydt+6y=2dudt+1. Draw the pole-zero plot and comment on stability of the system. |  |
| b) | Sketch the Nyquist plot for G(s)H(s)=(s+2)(s+1)(s+2). |  |
| c) | Comment on the stability of following system using Routh’s stability criterion. s6+2s5+8s4+12s3+20s2+16s+16=0 |  |