## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2013 Examinations

Programme: Common

Subject: Elements of Electrical Engineering(3001)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | State the factors affecting the current carrying capacity of a cable. |  |
| b) | State advantages of conduit wiring. |  |
| c) | What is Double Earthing? |  |
| d) | Explain why the transformer core is laminated? |  |
| e) | State different types of D.C. motors. |  |
| f) | What is Fuse Switch unit? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Compare single phase A.C. system and three phase A.C. system. (any 6 points) |  |
| b) | Compare underground distribution system and overhead distribution system. |  |
| c) | With neat diagram, explain insulation test between conductors and Earth. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State 6 I.E Rules related to wiring installation. |  |
| b) | With neat diagram, explain ‘Plate Earthing’. |  |
| c) | The electrical installation in a house, is used in the following manner: - 12 lamps of 100 W each, 6 hours a day - 4 fans of 60 W each, 5 hours a day - 2 electric geysers of 1 KW each, 3 hours a day - 2 electric cookers of 1.5 KW each, 4 hours a day. Calculate the electricity bill for a month of 30 days at the rate of Rs.1.20 per unit. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With neat diagram, explain working principle of Transformer. |  |
| b) | Why use of starter is necessary in starting D.C Motor? Explain any one D.C starter with a neat diagram. |  |
| c) | Draw “Speed v/s Torque” and “Torque v/s Armature current” characteristics of D.C series motor and explain. Also state applications of D.C series motor. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With neat diagram, explain Autotransformer starter. |  |
| b) | With neat diagram, explain any one type of single phase Induction motor. |  |
| c) | Compare Squirrel Cage Induction motor and Slip Ring Induction motor. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a note on ‘Fuses’. |  |
| b) | What is relay? Explain time delay relay. |  |
| c) | Why ELCB is used in electrical installation? Explain, with neat diagram, working of ELCB. |  |

***********