## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2013 Examinations

Programme: Civil Engg./CT

Subject: Maintenance of Civil Engineering Structures(5003)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What are the major sources, which are responsible for early deterioration and decay of various Civil Engineering structures? |  |
| b) | Describe necessary safety precautions needed for fire-protection in multistoried buildings. |  |
| c) | What are the essential precautions needed while installing lifts for multistoried structure? |  |
| d) | State essential maintenance requirements in case of sewage disposal lines of a building. |  |
| e) | With respect to concrete roads, what do you understand by “Blow up”? State necessary precautions needed to prevent it. |  |
| f) | Write a short note on “Pitching”. |  |
| g) | Distinguish between “Routine” and “Emergency” maintenance. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Stating the selection of suitable materials explain how do you estimate for maintenance work of a building. |  |
| b) | Describe what are the maintenance works involved in following services of a multistoried building: - Lifts - Lights and ventilation. |  |
| c) | Describe various personal protective equipments that should be used by the workmen while doing the maintenance work of multistoried structure. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain various maintenance works involved in a water treatment plant. |  |
| b) | Describe various leakage detection methods adopted in a water supply system. |  |
| c) | Explain how the sewer lines are tested? Explain necessary precautions required during backfilling of trenches. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With references to bituminous roads, explain causes of bleeding and describe how do you rectify the same. |  |
| b) | List out various defects occurring in concrete roads and explain necessary remedial measures required to avoid such damages. |  |
| c) | Explain the procedure for repair work of pot holes in bituminous roads. |  |

………2/-

-2-

| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | Enlist various defects observed in plastering works. Suggest remedial maintenance measures needed. |  |
| b) | Describe the procedure involved in preventing insect attack to various woodwork in a building. |  |
| c) | What are the causes for occurrence of cracks in a canal? State necessary precautions needed to prevent them. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With reference to an irrigation structure, explain how do you control the sedimentation. |  |
| b) | Stating their merits and demerits explain various methods adopted for lining of irrigation channels. |  |
| c) | With reference to hydraulic structures, explain the use of - Cement ‘grouting’ - Provision of clay blanket. |  |

***********