## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2013 Examinations

Programme: Electrical Engg./E&EE

Subject: Electrical Measurements & Instruments(4103)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Classify the electrical instruments according to their accuracy. |  |
| b) | Explain the importance of control and damping torque in Electrical instruments. |  |
| c) | Compare absolute and secondary instruments. |  |
| d) | What is creeping in Energymeters? How is it eliminated? |  |
| e) | An induction type of Energymeter is running fast. What adjustments are required? Give the technical specification of a three phase Energymeter as given on its nameplate. |  |
| f) | Draw two different connections which can be employed for measurement of unknown resistance by ammeter-voltmeter method. Write the expression for value of unknown resistance in each case. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Compare PMMC and MI instrument. |  |
| b) | Explain the various types of error in moving iron type instruments. |  |
| c) | Explain the Rectifier type instrument. List down the advantage and disadvantages of these instruments |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the various errors in Wattmeters? How these errors are compensated? |  |
| b) | Explain with the help of a neat circuit diagram, the measurement of power in a 3-phase circuit by using two Wattmeters. State the load p.f. conditions when both the Wattmeters read equal and positive value. |  |
| c) | Explain the construction and operation of polyphase Wattmeter. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State and explain the static and dynamic characteristics of measuring instruments. |  |
| b) | What are the various methods of producing damping torque? Explain any one in detail. |  |
| c) | Explain the construction and principal of operation of a single phase induction type Energymeter. |  |

………2/-

-2-

| Q.No.5. | Answer any three of the following Questions: | 3 x 4 = 12 |
| --- | --- | --- |
| a) | Explain the principal of the working of ohm-meter. |  |
| b) | Draw a neat circuit diagram of Kelvin’s double bridge and name the various resistances on it. In terms of these resistances express the value of unknown resistance. |  |
| c) | i)Give the classification of resistance for the purpose of measurement. ii)List four devices used to extend the range of ammeters/voltmeters. | (2) (2) |
| d) | Draw and explain the circuit diagram of extension of range of single phase, two wire Energymeter using CT & PT. |  |
| Q.No.6. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | Draw the circuit diagram of measurement of power in a 3- phase, 3- wire by two Wattmeters method in conjunction with CTs & PTs. |  |
| b) | Explain the working principle of phase sequence indicator. |  |
| c) | Write a short note on Earth tester. |  |
| d) | Draw a neat sketch of single phase power factor meter and explain in brief its working principle. |  |

***********