## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2013 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Industrial Electronics & Control Circuits(4202)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define latching current, holding current of SCR. |  |
| b) | Draw the characteristics of Triac and label it. |  |
| c) | List various Turn ON methods of SCR. |  |
| d) | Draw neat block diagram of IC 555. |  |
| e) | Explain the characteristics of photodiode with neat diagram. |  |
| f) | Draw block diagram of sequential timer. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the block diagram operation of IC 723. |  |
| b) | Explain the operation of 79XX series IC voltage regulator with neat diagram. |  |
| c) | Explain Construction, characteristics and working of LASCR. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With neat diagram explain the operation of triac light dimmer circuit. |  |
| b) | Explain the operation of parallel inverter. |  |
| c) | Explain the operation of centre tapped single phase Cycloconverter circuit. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the operation of servocontrolled voltage stabilizer, with neat diagram. |  |
| b) | State the difference between Online Ups & Offline Ups. Explain the block diagram operation of Online Ups. |  |
| c) | Explain the construction & operation of Lead acid battery. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With neat diagram, explain the use of SCR for speed regulation of DC motor. |  |
| b) | Explain speed control technique of 3 phase Induction motor using SCR. |  |
| c) | Explain the operation of IC 555 as a stable multivibrator, with neat diagram and waveforms. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the operation of Burglar alarm with neat diagram. |  |
| b) | Explain Electrostriction method of Ultrasonic generation. |  |
| c) | Explain the use of Ultrasonics for proximity detection. |  |

***********