## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2013 Examinations

Programme: Architectural Engg.

Subject: Building Construction-II(4521)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | List three typical elements in framed structure. |  |
| b) | Sketch a figure of excavation pit and show poling boards and strut. |  |
| c) | Draw a neat labelled sketch of i) Table joint ii) Dowel joint. |  |
| d) | Draw a neat labelled elevation of flat stone arch. |  |
| e) | List various materials used in cladding of walls. |  |
| Q.No.2.a) | Answer any one of the following Questions: | (05) |
| i) | Explain any two methods of improving bearing capacity of soil. |  |
| ii) | What are the essential requirements of a good foundation? |  |
| b) | List factors that affect the strength of Brick masonry. | (05) |
| c) | Answer any one of the following Questions: | (02) |
| i) | Sketch a coping detail in stone. |  |
| ii) | Sketch a coping detail in Brick. |  |
| Q.No.3.a) | Answer any one of the following Questions: | (06) |
| i) | State the typical requirements of a good staircase. |  |
| ii) | Sketch a plan and elevation of a bifurcated stair. |  |
| b) | ### Answer the following Questions: | 3 x 2 = 6 |
| i) | State the function of plinth beam. |  |
| ii) | What is a varnish? |  |
| iii) | State the reason for avoiding winder in a typical stair. |  |
| Q.No.4.a) | Answer any one of the following Questions: | (05) |
| i) | Draw a section through composite masonry with stone facing & brick backing. |  |
| ii) | State the reasons for occurrence of defects in Brick masonry. |  |
| b) | Draw a plan to show alternate courses of one & half brick thick wall in double flemish bond. | (05) |
| c) | Answer any one of the following Questions: | (02) |
| i) | State materials which can form a composite bond. |  |
| ii) | What is the necessity of bonding in masonry construction? |  |
| Q.No.5.a) | Answer any one of the following Questions: | (06) |
| i) | Classify lintels based on materials used. Support your answer with appropriate sketches. |  |
| ii) | Classify arches based on number of centres. Draw appropriate sketches. |  |
| b) | Draw a semicircular arch and label all components. | (06) |

………2/-

-2-

| Q.No.6.a) | Answer any one of the following Questions: | (05) |
| --- | --- | --- |
| i) | State the considerations adapted in selection of flooring materials. |  |
| ii) | Write briefly about materials which are used in plaster work with their characteristics. |  |
| b) | Prepare a suitable layout for a doglegged staircase in R.C.C. to climb a height of 3.20 m from plinth to first floor. | (05) |
| c) | Explain the following terms: i) Flight ii)Landing. | (02) |

***********