## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2013 Examinations

Programme: Electrical Engg./E&EE

Subject: D.C.Machines(4109)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define i) Single layer winding ii) double layer winding iii) simplex winding. |  |
| b) | State the factors on which e.m.f induced in a d.c. generator depend. |  |
| c) | State the conditions to be satisfied for parallel operation of d.c generators. |  |
| d) | Define i) Armature torque ii) Shaft torque iii) Back e.m.f in d.c. motor. |  |
| e) | State the methods used for reversing the direction of rotation of d.c motor. |  |
| f) | Define commutation. What are the causes of poor commutation? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State the various parts of d.c. machine and explain their functions in brief. |  |
| b) | Draw open circuit characteristic curve of a separately excited d.c. generator and explain its working in brief. Define critical resistance and critical speed. |  |
| c) | 1)State the conditions to be satisfied by a d.c. shunt generator to build up the voltage. 2) Define i) Flat compounded d.c. generator ii) Over compounded d.c. generator iii) Under compounded d.c. generator. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State the types of d.c. welding generator and explain the construction of any one of such generator of your choice with the help of neat diagram. |  |
| b) | Draw the volt ampere characteristic of bipolar welding generator and explain its working in brief. Give two points of distinction between bipolar welding generator & an ordinary generator. | (3) (3) |
| c) | A short shunt compound generator supplies a current of 100A and voltage of 220 V. The resistance of shunt field, series field and armature are 50, 0.025 and 0.05 respectively, total brush drop is 2 V and Iron as well as friction loss is 1 KW. Find i) The generated e.m.f. ii) Copper loss iii) Output of prime mover. |  |
| d) | Draw the external characteristics of a d.c. shunt generator and explain it is brief. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat connection diagram of connecting two short shunt compound generators is parallel and explain its working in brief. |  |

………2/-

-2-

| b) | Two d.c. shunt generators each having armature resistance of 0.01 and field resistance of 20 are connected is parallel and supply a total load of 4000A. The e.m.f. are respectively 210 V and 220V. Calculate the busbar voltage and output of each machine. |  |
| --- | --- | --- |
| c) | i)State the steps involved in taking a d.c. generator out of service from its parallel operation. ii)Draw voltage current characteristics of flat compounded, over compounded & under compound d.c. generators. | (3) (3) |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw the electrical characteristics of the following motors: - D.C series motor - D.C Shunt motor - D.C cumulative compound motor. Also give two applications of each of the above motors. |  |
| b) | State the methods used for speed control of d.c. shunt motor and explain any one of such method used of your choice with the help of neat diagram. |  |
| c) | State the types of starters used in operation of d.c. shunt motor. Name the parts of such starter of your choice and state their functions in brief. |  |
| d) | Give two points of distinction between: - Cumulative compound d.c. motor & differentially compound d.c. motor - D.C shunt motor & D.C series motor - Three point starter & four point starter. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State the effects of armature reaction on the performance of d.c. machine. How can cross magnetising effect of armature reaction be minimised? Explain it in brief with the help of neat diagram. |  |
| b) | - State the condition for maximum efficiency in a d.c. motor. - Also define i) Mechanical efficiency ii) Electrical efficiency iii) Overall efficiency in d.c. motor. - State the functions of drum type controller in d.c. motor. |  |
| c) | A d.c. series motor takes 20 A at 400V and runs at 250 r.p.m. The armature & field resistances are 0.6 ohms and 0.4 ohms respectively. Find the applied voltage and current to run a motor at 350 r.p.m, if torque required varies as square of speed. |  |

***********