## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2013 Examinations

Programme: Electronics Engg./EC/E/E&EE

Subject: Electronic Instrumentation(4141)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Differentiate between active and passive transducer. |  |
| b) | State three desirable characteristics in a transducer. |  |
| c) | State three advantages of electrical transducers over mechanical transducers. |  |
| d) | Describe in brief methods of temperature measurement by R.T.D. |  |
| e) | Describe applications of L.V.D.T. |  |
| f) | Explain principle of photo multiplier tube. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the construction and principle of working of L.V.D.T. |  |
| b) | How can potentiometer be used to measure linear displacement? Explain with suitable expressions. |  |
| c) | What is the principle of operation of a strain gauge? Define gauge factor. State its typical values. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | How do capacitive transducers attain variation in capacitance? Explain with neat sketches. State their advantages, disadvantages and applications. (4 each) |  |
| b) | Explain (i) Turbine flow meter (ii) Magnetic flow meter. |  |
| c) | Explain any one method of measurement of low pressure. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is a stroboscope? Explain its operation. Name any other 2 techniques of angular velocity measurement. |  |
| b) | Explain bonded and unbonded strain gauge. |  |
| c) | Explain one method each of humidity and thickness measurement. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is meant by signal conditioning? What signal conditioning would you recommend for a capacitive transducer? |  |
| b) | Explain features of data acquisition system with the help of block diagram. |  |
| c) | What are the features of a data logger system? Explain with the help of a block diagram |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Define ay two process parameters and two control system parameters, with example. |  |
| b) | What is meant by final control operation? Explain with the help of an example and develop suitable block diagram showing various elements involved in final control operation. |  |
| c) | Classify various continuous controller modes. Explain any one in detail, with mode equation. Which mode is most preferred and why? |  |

***********