## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2013 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Industrial Instrumentation(4218)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | State and explain Bernoulli’s Theorem. |  |
| b) | What is a thermocouple? How is it different from a R.T.D? |  |
| c) | Explain the disadvantage of U-tube manometer. Why is mercury used in manometer? |  |
| d) | What are basic fixed points? Discuss them with suitable examples. |  |
| e) | Differentiate between “DP Cell” and “DP transmitter”. |  |
| f) | What are Expansion Thermometers? State any two examples of the same. |  |
| g) | Draw a neat line diagram to show the relationship between Atmospheric, vacuum, absolute and total pressure. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Differentiate between three wire RTD & four wire RTD? State their equations for gain. Also differentiate between PT 100 & PT 500. |  |
| b) | Define Doppler’s principle. Sketch and explain the TDT type ultrasonic flowmeter. Also derive expression for flow rate. |  |
| c) | Give Industrial applications of the three temperature measuring transducers namely i) Thermistors ii) RTDs and justify its use in such application. |  |
| Q.No.3. | Answer the following Questions: | 3 x 4 = 12 |
| a) | Sketch and explain the working of an optical pyrometer. State its application. |  |
| b) | List out the various direct methods of liquid level measurements. Also sketch and explain in brief any two of these methods. |  |
| c) | Sketch and explain working of high pressure sight glass? How does it differ from the one used for open tank. |  |
| Q.No.4. | Answer the following Questions: |  |
| a) | Discuss any two major liquid column pressure measurement | (5) |
|  | techniques and state their salient features. |  |
| b) | List out the various types of vortex flowmeters. Sketch and explain working principle of any two of them. | (5) |
| c) | Discuss the advantages of gas filled thermometers over liquid filled thermometers. | (2) |

………2/-

-2-

| Q.No.5. | Answer the following Questions: |  |
| --- | --- | --- |
| a) | Sketch and explain the working of Air purging system. What is meant by liquid purging system? | (5) |
| b) | Discuss in brief any three practical problems that arise during level measurement. Suggest suitable remedy in each case. | (5) |
| c) | Answer any one of the following: - Salient features of inclined tube monometer. - Principal of working of Pirani gauge. | (2) |
| Q.No.6. | Write short note of any three: | 3 x 4 = 12 |
| a) | V to I converter with grounded load |  |
| b) | Closed loop flow control system |  |
| c) | Bourden tube pressure gauge |  |
| d) | Coriolli’s principal and mass flow meter |  |
| e) | In-situ calibrator techniques |  |
| f) | Temperature measurement and control systems |  |

***********