## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2013 Examinations

Programme: Civil Engg./CT

Subject: Construction-II(4009)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | Define “Foundation”. Briefly explain foundation in made-up ground. |  |
| b) | Draw neat sketch of plinth beam and strap footing. |  |
| c) | Write short note on precast pile. |  |
| d) | Define ‘shoring’ and ‘underpinning’. Where they are adopted? |  |
| e) | How the ‘tilts’ and ‘shifts’ of a well foundation is observed and corrected? |  |
| f) | What are Racker and guide Pile? Draw neat sketch of them. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of neat diagram describe the Electro-osmosis method used for dewatering a foundation trench. |  |
| b) | Explain with neat sketch construction of Raff foundation. |  |
| c) | Describe any one method of driving cast-in-situ piles. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain with neat sketch “Well Sinking”. |  |
| b) | How the waterproofing is done in case of terrace? |  |
| c) | What are the guidelines for planning a building so us to minimize fire hazards? |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain construction of Basement, its location and suitability. |  |
| b) | Mention various anti-termite treatments to be given while constructing residential building. |  |
| c) | Write component parts of derrick, its working detail, capacity and situation where it is used. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is “timbering of trenches”? Draw neat sketch of timbering for deep trench in loose soil. |  |
| b) | Differentiate between Isolated footing and combined footing. |  |
| c) | Write down where the following machinery is used. I. Compressor II. Pre-stressing jack III.Vibrator IV. Tractor V. Hoist & Pulley blocks VI. Power-shovel. |  |
| Q.No.6. | Write short note on any three: | 3 x 4 = 12 |
| a) | Characteristics of block cotton soil safety precautions for foundation |  |
| b) | Belt Conveyor |  |
| c) | Dragline |  |
| d) | Lighting and Ventilation |  |
| e) | Grillage foundation |  |

***********