## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2013 Examinations

Programme: Civil Engg./CT

Subject: Construction-I(4004)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Enlist different grades of concrete with specific application. |  |
| b) | What are the preliminaries required to start construction? |  |
| c) | State the empirical design of shallow foundations. |  |
| d) | Enlist the importance of bonds in brickwork and also the soaking. |  |
| e) | Draw the neat sketch of drainage of pitched roof. |  |
| f) | Enlist the objects of pointing in masonry. |  |
| Q.No.2. | Answer any two of the following questions: | 2 x 6 = 12 |
| a) | State difference between load bearing structure and framed structure. |  |
| b) | Explain in detail the requirement of good building stone. |  |
| c) | Draw the neat sketch of Ashlar masonry and explain. |  |
| Q.No.3. | Answer any two of the following questions: | 2 x 6 = 12 |
| a) | Explain the points to be observed in construction of brick masonry. |  |
| b) | Enlist and explain the requirements of good building bricks. |  |
| c) | Explains the different types of arches and lintels provided in masonry work. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Sketch and explain the panelled door. |  |
| b) | With a neat sketch explain the terms used in sloping roof. |  |
| c) | Enlist the requirements of roof covering material and explain any one. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the construction of terrazo flooring. |  |
| b) | Draw the neat sketch of dog-legged stair and explain the terms. |  |
| c) | What are the requirements of good floor? |  |
| Q.No.6. | Write a short note on any four: | 4 x 3 = 12 |
| a) | Reinforced brick partition wall |  |
| b) | Timber floor |  |
| c) | Sand faced plaster |  |
| d) | Cantilever stair |  |
| e) | Dry stone masonry |  |
| f) | Pitched roof and flat roof |  |

***********