## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2013 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Basic Instrumentation-I(S-4214)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | State the advantages of Capacitive transducers. |  |
| b) | Draw the sketch of a variable reluctance type transducer used to measure speed. |  |
| c) | Explain the effect of loading on linearity of a potentiometer. |  |
| d) | Define gauge factor. List two materials used in strain gauge element and state their gauge factor. |  |
| e) | State three advantages of Digital instruments. |  |
| f) | Explain the principle of working of Piezo-electric transducer. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw the block diagram of instrumentation system and explain the basic functional and auxiliary elements. |  |
| b) | Explain the working of Null and Deflection type of instruments with an example and compare the performance. |  |
| c) | What is a standard? State and explain various types of standards. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With help of suitable diagrams explain 3 wire and 4 wire methods of connecting RTD to bridge. |  |
| b) | Explain the principle of working of strain gauges. Show how strain gauges are connected in ¼ bridge and ½ bridge configurations. |  |
| c) | With the help of a block diagram explain how potentiometer can be used to measure displacement. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Describe the function of Primary and Secondary transducer with the help of an example of an instrumentation system using bourdon tube and potentiometer. |  |
| b) | Explain the working of the following: i) displacement to pressure transducer ii) Force to displacement transducer. |  |
| c) | Explain the working and application of IC Sensors. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the principle and working of three type of Inductive transducer with variation in self inductance. |  |
| b) | Draw the block diagram of a displacement measurement system using inductive transducer and explain the working. |  |
| c) | Explain the construction and working of LVDT. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the different ways in which displacement causes variation of capacitance in capacitive transducers. |  |
| b) | Draw the block diagram of displacement measurement system using capacitive transducers and discuss the different signal conditioning techniques. |  |
| c) | Explain the working of level measurement system using Capacitive transducer with the help of a neat diagram. |  |

***********