## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2013 Examinations

Programme: Architectural Engg.

Subject: Building Construction-V(4532)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Distinguish between timber piles and concrete piles. |  |
| b) | Give three choices of false ceiling materials for residential bunglow with a reason for each. |  |
| c) | What are the requirements of a good partition wall? |  |
| d) | Give 3 advantages of glass partition over timber partition. |  |
| e) | State any 3 advantages of built in furniture in a room. |  |
| f) | Give advantages and disadvantages of mechanical vertical access. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain pile foundation and its various types (1) End bearing pile (2) Friction pile (3) Replacement pile (4) Displacement pile. |  |
| b) | Sketch the plan and section of Grillage foundation and combined footings. |  |
| c) | Explain curtain walls and draw a neat sketch and label all the components. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | A Bank space measuring 7m x 6m is to be renovated by making 4 small individual cabins. What kind of partition wall would you suggest and why? Execute a small sketch layout. Draw the part plan and section showing necessary construction details. |  |
| b) | Write a short note on Trussed partitions. |  |
| c) | State the difference between the partition wall and curtain wall. Give 3 points of each. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain Jointless suspended ceilings. |  |
| b) | With the help of neat sketch explain the construction detailing of timber false ceiling. |  |
| c) | With a neat sketch explain the construction of T-Grid false ceiling. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List out three types of materials as a choice for a furniture in a residential house. Sketch each type. |  |
| b) | Sketch the design for a conventional kitchen cabinet mounted with a kadappa platform for a residential house. Sketch the details of respective carpentry joints. |  |
| c) | Draw the sketch of furniture system required for the storage cabinet. Sketch the details of carpentry joints. |  |

………2/-

-2-

| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | State various types of elevators. Draw a neat sketch of any one type required for multistoried structure. |  |
| b) | With the help of neat sketch draw and explain any three types of carpentry joints. |  |
| c) | Show the detailing of an Escalator for a shopping mall. Explain its mechanism, draw a neat plan and section. |  |

***********