## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2013 Examinations

Programme: Electronics Engg./EC

Subject: Power Electronics(4143)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define holding current & latching current for SCR. |  |
| b) | Explain di/dt rating of SCR. |  |
| c) | Draw symbol & labelled characteristics of Triac. |  |
| d) | Explain in brief natural commutation of SCR. |  |
| e) | Define turn on time of SCR. |  |
| f) | Explain forward biased characteristics of power diode. |  |
| g) | What are inverters? Give its applications. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of neat diagram & waveforms explain ‘RC’ triggering of SCR. |  |
| b) | Explain in detail auxiliary commutation of SCR. |  |
| c) | Draw and explain VI characteristics of SCR in forward biased mode. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw VI characteristics of PUT & explain it working. |  |
| b) | Explain the working of three phase half wave rectifier with Resistive load. |  |
| c) | Explain the working of parallel inverter. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain series connected diodes under steady state & transient conditions. |  |
| b) | With the help of a neat diagram & waveforms explain working of single phase full wave controlled rectifier with Resistive load. |  |
| c) | Explain working of single phase half wave controlled rectifier with R-L load. Draw circuit diagram & waveforms. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain working of single phase cycloconverter for 16 2/3 Hz. |  |
| b) | Explain application of Triac for starting single phase motor. |  |
| c) | Explain working of two Thyristor chopper. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain working of basic series inverter. |  |
| b) | Write a note on two-relay regulator. |  |
| c) | Explain in detail servo controlled regulator. |  |

***********