## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2013 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-I(4192)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | List the instruments used in a clinical laboratory. |  |
| b) | What is sterilization? |  |
| c) | Draw and explain the equivalent circuit of bio-potential electrode interface. |  |
| d) | Name the different tests that are performed on blood cells. |  |
| e) | What is a biochemical transducer? |  |
| f) | Write a short note on phenyl as a disinfectant. |  |
| Q.No.2. | With a neat labelled diagram explain the working of a dark field microscope used for blood cell counter. | (12) |
| Q.No.3. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain Basic electrode theory. |  |
| b) | Write a short note on power sources and wavelength selectors. |  |
| Q.No.4. | Write short note on any two: | 2 x 6 = 12 |
| a) | Autoclave |  |
| b) | Steamer |  |
| c) | Autoanalyser |  |
| Q.No.5. | Answer the following Questions: | 2 x 6 = 12 |
| a) | What do you mean by Hematocrit? Explain hematocrit determination with a neat diagram. |  |
| b) | Describe the process of information flow to and from a clinical laboratory. |  |
| Q.No.6. | With a neat block diagram explain the working of Pco2 & Po2 electrode. | (12) |

***********