## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2013 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-III(4196)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What are the precautions to be taken when using a DC defibrillator? |  |
| b) | Enlist the properties of a pacemaker. |  |
| c) | Explain unipolar ECG lead configuration. |  |
| d) | With an example briefly explain radio telemetry. |  |
| e) | Enlist the different EEG patterns along with the frequency ranges. |  |
| f) | How can common-mode voltage be reduced? |  |
| g) | What is rate responsive pacing? |  |
| Q.No.2. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain an ECG waveform with its typical time intervals and amplitudes. |  |
| b) | Explain the different types of ECG electrodes Also list their advantages and disadvantages. |  |
|  | ### OR |  |
| Q.No.2. | Answer the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain the working of a DC defibrillator. |  |
| b) | What are the different types of EEG electrodes? |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat figure explain the indicator dilution method of measurement of blood flow. |  |
| b) | Explain the working of plethysmography. |  |
|  | ### OR |  |
| Q.No.3. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Write a note on synchronous pacemakers. |  |
| b) | Explain any one indirect method of blood pressure measurement. |  |
| Q.No.4. | With the help of neat figures explain the working of the following: - Spirometer - Pneumotachograph | 2 x 6 = 12 |
| Q.No.5. | Answer the following Questions: | 3 x 4 = 12 |
| a) | Explain multi-channel frequency division multiplexing radio telemetry system. |  |
| b) | Write a note on single channel radio telemetry system. |  |
| c) | Explain the working of ultrasonic blood flow meter. |  |
| Q.No.6. | Write a short note on any three: | 3 x 4 = 12 |
| a) | Fluid resistance method for blood pressure measurement |  |
| b) | Ventilation |  |
| c) | Radiographic blood flow meter |  |
| d) | CMRR |  |

***********