## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2013 Examinations

Programme: Electrical Engg.

Subject: Non Conventional Sources of Energy(3009)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What is the need of renewable energy storage? |  |
| b) | Define the term i) Beam radiation ii) Diffuse radiation iii) Wind lift. |  |
| c) | Give the applications of Solar photo voltaic cell. |  |
| d) | Give the applications of geothermal energy. |  |
| e) | Give the factors affecting generation of biogas. |  |
| f) | Give advantages of vertical axis wind turbines over horizontal axis. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain construction and working of flat plate Collector. |  |
| b) | Explain construction and working of point focusing Collector. |  |
| c) | Discuss mechanical energy storage system of solar energy. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss the applications of Solar pond. |  |
| b) | Explain working of pressurized solar water heater. |  |
| c) | With a neat diagram explain working of solar furnace. Give its advantages and disadvantages. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain construction and working of multi reflector type solar oven or cooker. |  |
| b) | With a neat diagram explain construction and working of KVIC digester. |  |
| c) | Give advantages and disadvantages of fixed dome type biogas plant. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss physical embodiment of wind energy conversion system. |  |
| b) | Discuss the environmental aspects of wind energy conversion system. |  |
| c) | Give classification of wind energy conversion system in detail. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain power generation from tides using double basin arrangement method. |  |
| b) | Explain the open cycle ocean thermal energy conversion system. |  |
| c) | List the components of hydroelectric scheme and give functions of each component. |  |

***********