## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2013 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-II(4194)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | Explain the use of cryogenics in medicine. |  |
| b) | Explain the use of hyperbaric oxygen therapy. |  |
| c) | Explain the purpose of an isolation amplifier for biomedical amplification. |  |
| d) | How is a Fourier series useful during signal processing? |  |
| Q.No.2. | Answer the following Questions: |  |
| a) | What is the physical basis for heat and temperature? With the help of neat figures, explain any 2 equipments that use heat as its therapy base. | (8) |
| b) | Answer any two: - What is respiratory therapy? - What are the precautions to be taken when using cryogenics? - What is microwave therapy? | 2 x 2 = 4 |
| Q.No.3. | Answer the following Questions: |  |
| a) | Explain the principle of thermal transducers with a neat figure & explain the working of any two thermal transducers. | (8) |
| b) | Answer any two: - What is the principle of a capacitive transducer? - What is a photoelectric transducer? - Write a short note on strain gauges. | 2 x 2 = 4 |
| Q.No.4. | Answer the following Questions: |  |
| a) | What are the sources of radioactivity for nuclear medicine? With a neat figure explain the working of photo multiplier tube. | (8) |
| b) | Answer any two: - What is CMRR? - Explain a typical non-inverting amplifier. - What is a positron camera? | 2 x 2 = 4 |
| Q.No.5. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | Explain what happens when operational amplifiers are in tandem. |  |
| b) | What are the different interferences encountered during bio-potential measurements? |  |
| c) | How is a step function important during signal processing? |  |
| d) | What is a differential amplifier? |  |
| Q.No.6. | Write note on any three: | 3 x 4 = 12 |
| a) | Damping of resonance |  |
| b) | Strain gauges |  |
| c) | Photoelectric transducers |  |
| d) | Radiotherapy principles |  |

***********