## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2013 Examinations

Programme: Architectural Engg.

Subject: Building Services-I(4530)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | List out any three important components of a house water supply. |  |
| b) | Sketch and label a stop cock. |  |
| c) | Explain sanitation. |  |
| d) | Gradients are important in planning drainage systems. Explain. |  |
| e) | Give any 3 electrical denotations. |  |
| f) | What is an electrical meter? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Sketch out any six pipe fittings used in a house water supply. |  |
| b) | Give four points of difference between plastic pipes and G.I. pipes used in water supply. |  |
| c) | Sketch and explain three important underground sources of water supply. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 9 = 18 |
| a) | Sketch a section through a septic tank and label all the details. |  |
| b) | Sketch out and name any six different sanitary fittings used in a house. |  |
| c) | Sketch and explain any three types of traps used in a drainage layout of a house. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain any two types of wiring adopted in construction in recent times. |  |
| b) | Sketch any three types of electrical fixtures provided for typically in a kitchen. |  |
| c) | State any six considerations in planning an electrical layout of a Residential house. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 9 = 18 |
| a) | Sketch out a layout in section showing the details and components used within the public water supply line till the water meter installation in a house. Label all details. |  |
| b) | Consider a toilet space of 2.50 x 1.50m with minimum sanitary fittings of Wash basin, European WC and Hot–cold shower. Make a list of electrical provisions required for this toilet and show a neat Electrical layout showing all the details required from site execution point of view. Draw plan only not to scale for the layout. |  |
| c) | Differentiate giving six points between a septic tank type and public sewer type of sewage disposal. |  |

***********