## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2013 Examinations

Programme: Architectural Engg.

Subject: Estimation & Costing(4529)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Give brief specification of marble flooring. |  |
| b) | What is meant by item of works? |  |
| c) | Mention market rates of any 3 different construction material. |  |
| d) | Draft a proforma for an ‘Abstract sheet’ and also state its need in construction industry. |  |
| e) | Write unit of measurement for the following items of construction: - 23cm thick laterite stone masonry - Ceramic flooring - Toilet dado tiling. |  |
| f) | What is the use of estimating & costing in construction project? |  |
| g) | What data will you collect to carry out analysis of rates of construction items? |  |
| Q.No.2. | Answer any three of the following Questions: | 3 x 5 = 15 |
| a) | Differentiate between plinth area estimate and cubic content estimate. |  |
| b) | What is an approximate estimate? State the reason for preparing it. |  |
| c) | Who can prepare an estimate? Mention the qualities of an ideal estimator. |  |
| d) | Explain which is the most reliable estimate and why. |  |
| Q.No.3. | Answer any three of the following Questions: | 3 x 5 = 15 |
| a) | Explain any 4 items of works with specifications in an electrical estimate along with their units of measurement. |  |
| b) | What is Rate Analysis? Explain the factors affecting rate analysis. |  |
| c) | Write the specification for: - Internal plaster - Dadoing for Toilet. |  |
| d) | Explain in detail the procedure of preparing bills from the beginning of project till its completion. |  |
| Q.No.4. | Prepare the rate analysis for any two items of works: | 2x7.5= 15 |
| a) | Internal plaster in C.M 1:4, 12mm thick single coat – for 100 sq.m. |  |
| b) | R.C.C., in beam and slab 1:1½:3, quantity 10 cu.m |  |
| c) | Laterite masonry in C.M (1:5) using laterite stones of size 23cmx30cmx17cm – for 10cu.m |  |

………2/-

-2-

| Q.No.5. | Estimate the quantities of any three of the items of works (Refer Fig.No.1) | 3 x 5 = 15 |
| --- | --- | --- |
| a) | Excavation in Wall foundation |  |
| b) | R.C.C work in slab 12cm thick, M20 mix |  |
| c) | Internal plastering in CM (1:4), 12mm thick |  |
| d) | Flooring in all units of the house |  |