## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2013 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Analytical Instrumentation(5115)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | List three industrial processes that use gas chromatographs. |  |
| b) | Differentiate between UV and IR spectrophotometry. |  |
| c) | Define the term Absolute humidity and Relative humidity. |  |
| d) | How can inventory control be used for managing spare parts? |  |
| e) | Differentiate between Insitu and sampling method of automatic analyser. |  |
| f) | Explain one application of pH measurement in Industry. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss three industrial applications of monitoring oxygen content. |  |
| b) | Explain the working of thermal conductivity gas analyser. |  |
| c) | State the principal of working of a pH meter. Explain the working of any one type with the help of a diagram. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of a flame ionization detector with the help of a diagram. |  |
| b) | Explain the working of a paramagnetic type of oxygen analyser. |  |
| c) | Compare liquid and gas Chromatograph. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of a neat sketch explain the working of dispersive type IR Spectrophotometer. |  |
| b) | Explain the working of flame photometer. |  |
| c) | Explain any one method of moisture measurement. State two industries where moisture measurement is used. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Compare different types of radiations and their penetrative power. |  |
| b) | Explain the working of a GM counter with the help of a neat diagram. |  |
| c) | Explain the application of radiation in thickness measurement. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of a Discrete Analyser with the help of a diagram. |  |
| b) | With the help of a block diagram explain the working and features of a continuous analyser. |  |
| c) | Discuss the various sampling problems of automated analysers and suggest suitable remedies. |  |

***********