## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2013 Examinations

Programme: Electrical & Electronics Engg.

Subject: Fundamentals of Refrigeration & A/C (5090)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

4) Use of Psychrometric Charts is permissible.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What do you understand by Green House effect? How do refrigerants contribute to Green House effect? |  |
| b) | State and explain Clausius statement of the second law of thermodynamics. |  |
| c) | Define a refrigerant. How are refrigerants classified? |  |
| d) | What is a standard rating of a refrigeration machine? |  |
| e) | What do you understand by dry bulb temperature and wet bulb temperature? Explain their importance in psychro- metrics. |  |
| f) | What is the function of time switch? What will be the impact of its failure? |  |
| g) | Write the designation of Ammonia. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Describe a simple vapour compression cycle, with the help of pressure–enthalpy chart, explaining the condition of refrigerant at each stage. |  |
| b) | Discuss, with help of a sketch, the effect of the following on the performance of the vapour compression system: i) Effect of delivery pressure ii) Effect of sub-cooling of liquid. |  |
| c) | With the help of a neat sketch explain the working of cold storage. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State and explain the advantages of vapour absorption refrigeration system over vapour compression refrigeration system. |  |
| b) | With the help of a neat sketch explain the following psychrometric process: i) Cooling and humidification ii) Mixing of air streams. |  |
| c) | Define Room sensible heat factor. With the help of a neat sketch, explain components of RSHF. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain with a neat sketch construction and working of a Flooded type of evaporator. |  |
| b) | Describe a screw compressor with the help of a neat sketch. |  |
| c) | Explain the working of a window air conditioner with the help of a neat sketch. |  |

………2/-

-2-

| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | What is the function of an air washer? Explain with a neat sketch construction and working of air washer. |  |
| b) | Enumerate air conditioning controls. Describe Automatic humidity control. |  |
| c) | With the help of a neat sketch explain construction and working of a cold storage. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Describe a simple vapour absorption system with the help of a neat sketch. State the function of Absorber and Generator. |  |
| b) | A mixture of dry air and water vapour is at 25C dry bulb temperature and 30% RH. Find the following properties of the air using Psychrometric chart: i) Wet bulb temperature ii) Enthalpy iii) Dew point temperature. |  |
| c)i) ii) | Why capillary tube is preferred to other throttling devices in a household refrigerator. What is the difference between ‘Wet compression’ and ‘Dry compression’? |  |

***********