## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Architectural Engg.

Subject: Building Construction-III(4524) [Old Course]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | State three purposes of RCC foundation. |  |
| b) | Name any three roof types used for long span structures viz. Hangar. |  |
| c) | Draw a section through a timber window frame. |  |
| d) | Draw a labelled section to show detail of ceramic tile fixed over PCC bed. |  |
| e) | Draw a sketch to show fixing of A.C sheet to GI pipe purlins. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | A RCC column is to be erected on boundary of site. Suggest the type of footing & draw details of the same. |  |
| b) | Differentiate between isolated & eccentric footing. |  |
| c) | State the meaning of abbreviation ‘IPS’, where would you adapt it & explain briefly procedure of laying the same. |  |
| d) | Write down the procedure for laying of brick floor in a 6 x 6m internal courtyard of polytechnic. |  |
| Q.No.3. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | State the function of column & beam in a structure. |  |
| b) | Draw a neat labelled sketch through a Louvered timber ventilator measuring 90cm x 50cm. |  |
| c) | State two causes responsible for failure of foundations. |  |
| d) | Mention any two areas where one could suggest Linoleum to be appropriate flooring material & assign one reason for each. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw sketches of 3 types of joints used in making of wooden doors & windows. |  |
| b) | To make cost effective door, suggest material to be used for frame & shutter of internal door in an apartment flat. |  |
| c) | Draw details of door opening in a balcony on west side of a building. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Differentiate between a steel truss and a traditional timber truss. |  |
| b) | Write a comparative note on roof coverings used in pitched roofs. |  |
| c) | Draw a neat labelled diagram of king post roof truss supported on masonry walls. |  |
| Q.No.6. | Answer the following Questions: |  |
| a) | Draw a detailed dimensioned sketch of Mangalore tiled roof spanned over 3m wide room with masonry walls. | (6) |
|  | ### OR |  |
| a) | Write a note on choice of truss for different spans of roofs. | (6) |
| b) | Sketch & explain a Waffle slab roof. | (3) |
| c) | Draw a section through collar roof truss. | (3) |

***********