## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Electrical Engg./E&EE

### Subject: Electrical Measurements & Instruments(EE303)[Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain any three types of errors. |  |
| b) | Why is a controlling torque necessary in an indicating instrument? What happen in the absence of this torque? |  |
| c) | Give the technical specifications of a single phase & three-phase induction type energy meter as given on its nameplate. |  |
| d) | What are the disadvantages of using ammeter voltmeter method in measuring low resistance? |  |
| e) | What is a multiplier? What its requirements when used in D.C circuits? |  |
| f) | What is a phase sequence indicator? Explain its principle of operation. |  |
| g) | Name the instruments used to measure the following quantities i) Insulation resistance ii) Earth resistance and iii) KVA. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Describe the construction and working of PMMC instruments. Describe the method of damping used in these instruments. |  |
| b) | Describe the working of a rectifier type voltmeter, which uses half wave rectifier circuit. Also state its advantages. |  |
| c) | Discuss the following type of errors in MI instruments: i) Hysteresis Errors ii) Temperature errors iii) Errors on account of stray magnetic fields & iv) Errors on account of change of frequency. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Describe the constructional details of an electrodynamometer type wattmeter. |  |
| b) | 2 wattmeters connected to measure the input power to a balance 3-phase circuit indicate 5000W and 1000W respectively. Find the power and p.f of the circuit: i) when both the readings are positive ii) when latter reading is obtained by reversing the current coil of the wattmeter. |  |
| c) | Draw the circuit diagrams for the 2 types of connections which can be used for an electrodynamometer type wattmeter. Also, explain under what conditions each of the 2 types of connections should be used. |  |
| Q.No.4. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | Draw the block diagram of electronics energy meter and state the function of each block. |  |
| b) | State the different types of ohmmeter you know? Give the two points of distinction between them. |  |
| c) | Enumerate the merits and demerits of instrument transformers. | ….2/- |
|  | -2- |  |
| d) | What are the various methods of damping used in an instrument? Explain any one in detail. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Differentiate between recording and integrating & indicating instruments. Give suitable examples of each case. |  |
| b) | What are the different effects of electric current used in producing deflecting torque in an anology instrument? Cite examples in which these effects are used. |  |
| c) | Describe the functions of the following in a single phase induction type energy meter i) Shunt and series magnets ii) Moving disc iii) Permanent magnet iv) Registering mechanism v) Shading bands & vi) holes in the discs. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat sketch, explain the principle of operation of vibrating reed type frequency meter. |  |
| b) | With neat circuit diagram, explain the extension of range of a 3-phase energy meter used in a 3-phase, 4-wire system by using CTs & PTs. |  |
| c) | Explain the working of Kelvin’s bridge. How is Kelvin’s double bridge method in superior to the Kelvin’s bridge? |  |

***********