## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Basic Instrumentation-II(4216)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | Draw the equivalent circuit of piezoelectric crystal. What are the modes of its operation? |  |
| b) | Explain working principle, construction and application of fiber optic transducer in temperature measurement. |  |
| c) | Explain the concept, input–output relationship and typical specifications of hydraulic type mechanical amplifier. |  |
| d) | Explain the basic concept, input-output relationship and typical specifications of charge amplifier as a signal modifier. |  |
| e) | How are data presentation elements classified? Explain with examples. |  |
| f) | State the definition and explain significance of i) Sensitivity ii) Dead band. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working principle, construction of Tachometer encoder. Compare it with incremental encoder. |  |
| b) | Explain the working principle, construction of moving coil type transducer. Compare it with moving magnet type transducer. |  |
| c) | Explain how piezoelectric transducer is useful in measurement of force. |  |
| Q.No.3. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain the working principles construction and application of fiber optic transducer in level measurement. |  |
| b) | Explain the basic concept, input–output relationship and typical specifications of any two of the following: - Optical type mechanical amplifier - Rack and pinion gear signal modifier - V to I converter. |  |
| Q.No.4. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain the basic concept, input–output relationship and typical specifications of any two of the following: - Band pass filters - Band stop filters - Analog to digital converter. |  |
| b) | Define the following terms and explain their significance in a measurement system: i) Threshold ii) Drift iii) Impedance matching. |  |
| Q.No.5. | Explain the construction, working, typical specifications of any two of the following: i) Pen Recorder ii) Servo Recorder iii) X-Y plotter. | (12) |
|  |  | …….2/- |
|  | -2- |  |
| Q.No.6 | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Define the following terms and explain their significance in a measurement system: i) Linearity ii) Accuracy iii) Resolution. |  |
| b) | Write a note on shielding and grounding techniques. |  |
| c) | Explain the step response specifications and frequency response specifications of first order system. |  |

***********