## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Electronics Engg./COMP/EC/EI

Subject: Basic Electrical Engineering(CS304) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define: i) R.M.S. value ii) Form factor iii) Peak factor of A.C waveform. |  |
| b) | Why the core of the Transformer is laminated? |  |
| c) | Draw the speed-torque characteristics of D.C series motor. State 2 applications of D.C series motor. |  |
| d) | What is ‘slip’ of an Induction motor? State one application of squirrel cage 3-phase Induction motor? |  |
| e) | Why Earthing is necessary? |  |
| f) | Define minimum fusing current. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Compare star and delta connections of 3-phase A.C system. |  |
| b) | With a neat diagram, explain the principle of operation of transformer. |  |
| c) | State E.M.F equation of a transformer, and explain various terms in the equation. Define Efficiency and Voltage Regulation of transformer. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram, explain the main parts of D.C motor and their functions. |  |
| b) | Explain the necessity of starter for D.C motor. |  |
| c) | Draw diagram of all types of D.C. motors. With neat diagram, explain reversal of direction of rotation of D.C. series motor. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat circuit diagram, explain the working of Auto-transformer starter used for 3-phase Induction motor. |  |
| b) | With a neat circuit diagram, explain the working of Star Delta starter. |  |
| c) | Compare Squirrel cage and Slip Ring Induction motor. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw and explain construction and working of any one type of single-phase Induction motor. |  |
| b) | With a neat diagram, explain Plate earthing. |  |
| c) | Define Equipment Earthing and System Earthing. State any 2 I.E. rules relevant to earthing. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State different types of Fuses and explain any one with neat diagram. |  |
| b) | Write a note on E. L.C.B. |  |
| c) | Write a note on ‘M.C.B’ and its functions |  |

***********