## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Process Control(4203)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Draw the block diagram of a process control system used for temperature control. |  |
| b) | Describe the performance of a single speed floating control mode. |  |
| c) | Explain the terms proportional band and rate gain. |  |
| d) | State the advantages of PLC over relay sequencers. |  |
| e) | Compare Continuous control and Discrete state control. |  |
| f) | Explain one method of process loop tuning. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain how flow charts are used for event sequence description with the help of an example. |  |
| b) | Explain composite continuous and discrete control system with the help of an example. |  |
| c) | List various ladder diagram elements and draw symbols. Give an example of a simple ladder diagram. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the following process characteristics: process load, self regulation, control lag. |  |
| b) | Explain multiposition discontinuous control mode with the help of process equation and graph. |  |
| c) | State the process equation of proportional integral composite control mode. Draw the graph and explain the working. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of a pneumatic Proportional derivative controller with the help of a diagram. |  |
| b) | Implement Proportional-Integral controller mode using opamps. State the process equations and explain the working. |  |
| c) | Explain the following terms with reference to PLC operation: I/O scan mode, Execution mode and Scan time. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw the block diagram of a data logging system and explain the difference in fixed and portable data loggers. |  |
| b) | Draw the block diagram of a multiple loop controller using computer and explain the working. |  |
| c) | With the help of a block diagram explain the features of a cascade process control system. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Describe any two types of pneumatic actuators. |  |
| b) | What are the steps in final control operation? Explain with help of a block diagram. |  |
| c) | Explain the feature of the following types of control valves: Quick opening, Linear. |  |

***********