## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Mechanical Engg.

Subject: Power Plant Engineering(5037)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What is meant by Load curve? What is its significance in power generation? |  |
| b) | Write six important advantages of Hydroelectric Power Plant over the other power plants. |  |
| c) | What are the major impurities of make up water? |  |
| d) | What are the desirable properties of a good coolant used in a Nuclear reactor? |  |
| e) | What do you understand by carryover losses? State the different methods used to reduce these losses. |  |
| f) | Write a short note on coal handling. |  |
| g) | Give the advantages and disadvantages of Gas turbine power plant. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | A residential consumer has 10 lamps of 40 watt each. His demand is Midnight to 5 am --------- 40W 5 am to 6 pm --------- No Load 6 pm to 7 pm --------- 320 W 7 pm to 9 pm --------- 360 W 9 pm to 12 Midnight ------ 160 W - Plot the Load curve ii) Find average load, Maximum load, Load factor and Energy consumption per day. |  |
| b) | Classify hydroelectric power plants on the basis of quantity of water available. Explain any one type in brief. |  |
| c) | With the help of a neat diagram, explain air intake system of a diesel power plant. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What different methods are used to improve the thermal efficiency of the open cycle gas turbine? |  |
| b) | What point should be considered for designing a coal handling plant? |  |
| c) | With a neat sketch explain the construction and working of cyclone dust collector? |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat sketch explain the general layout of coal based steam power plant. |  |
| b) | With the help of neat sketch explain the working of an underfeed stoker. |  |
| c) | Explain briefly the ion exchange process. |  |

………2/-

-2-

| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | Explain with a neat sketch the hyperbolic cooling tower? |  |
| b) | Explain with a neat sketch a breeder reactor. State its advantages and disadvantages. |  |
| c) | Discuss the various methods of Nuclear waste disposal. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Selection of the number and size of units |  |
| b) | Engine cooling system in I.C. Engine Power Plant |  |
| c) | Fuels used for steam generation |  |
| d) | Nuclear fuels used in Nuclear Power Plant |  |
| e) | Handling and disposing off ash in thermal power plant |  |
| f) | Advantages and disadvantages of Hydroelectric Power Plant |  |

***********