## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Electronics Engg./EC

Subject: Power Electronics(4143)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Write three differences between natural & forced commutation. |  |
| b) | Explain dv/dt ratings of SCR. |  |
| c) | Explain in brief Silicon Control Switch (SCS). |  |
| d) | Define turn off time of SCR. |  |
| e) | Explain gate protection circuit for SCR in brief. |  |
| f) | Draw & explain forward biased characteristics of power diodes. |  |
| g) | What is a cycloconverter? Give its applications. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw V-I characteristics of UJT & explain its working. |  |
| b) | Explain the complementary commutation of SCR. |  |
| c) | Explain in detail ‘Turn ON’ characteristics of SCR. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw the symbol, characteristics of GTO and explain its working. |  |
| b) | Explain the working of three phase full wave rectifier. |  |
| c) | Explain the working basic series inverter. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain parallel connected diodes under steady state & dynamic conditions. |  |
| b) | Explain working of single phase full wave controlled rectifier with R-L load. Draw circuit diagram and waveforms. |  |
| c) | Draw a neat circuit diagram and explain the working of single phase half wave controlled rectifier with resistive load. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain working of single thyristor chopper. |  |
| b) | With the help of neat diagram & waveforms explain the working of single phase cycloconverter for 25Hz. |  |
| c) | Explain application of TRIAC as a light dimmer. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain working of parallel inverter. |  |
| b) | Write a note on 3 relay regulator. |  |
| c) | Draw the block diagram of SMPS & explain it working. |  |

***********