## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Mechanical Engg./P

Subject: Metrology & Quality Control(4047)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain various types of fits with suitable examples of each type. |  |
| b) | Discuss with example the need of inspection in industries. |  |
| c) | List the various instruments used for measurement of angles. Explain any one of them. |  |
| d) | Show the symbols for designating the surface roughness on drawing. |  |
| e) | What are pitch errors in screw threads? What are the effects of pitch errors? |  |
| f) | What do you mean by the cost and value of quality? |  |
| g) | Discuss the statement “Higher quality of design means higher costs”. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain with neat free hand sketch the use of sine bars in measurement of angles of: (i) A small work piece (ii) A big work piece. |  |
| b) | Name various types of comparators. Discuss the advantages of pneumatic comparators. |  |
| c) | With a neat labelled sketch explain the working mechanism of a dial indicator. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State and explain the “Taylor’s Principle” applied to Gauge Design. |  |
| b) | Explain how Tomilson’s Surface meter is used to measure surface finish. |  |
| c) | With a neat labelled diagram explain the use of a gear tooth Vernier calliper. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is the difference between “Quality Control” and “Quality Assurance”? Explain how “Process Control” plays a significant role in “Quality Assurance”. |  |
| b) | Discuss how “appropriate quality policy” can affect the cost of production. |  |
| c) | What do you mean by quality of design? State the factors controlling it. |  |

………2/-

-2-

| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | Explain the concept of Acceptance Sampling. Under what conditions we use single sampling plan, double sampling plan and Multi sampling plan. |  |
| b) | The specification limit on dimension of parts are 101.55 0.2. In order to control the dimension X,Rcharts are to be implemented. The sample size is ‘5’. Initial study was conducted with 50 subgroups and X=5072.25 and R=8.8. - Calculate the control limits. - Will the parts be able to meet its specification? Given: A4 = 0.58 D4 = 2.11 D3 = 0 d2 = 2.326 |  |
| c) | A company carries out the anodizing of various aluminium components. The components are inspected to locate defects in them. The observations from this inspection are given below. Plot C-chart and draw the conclusions. Components inspected; 1; 2; 3; 4; 5; 6; 7; 8; 9; 10. No. of defects; 2; 5; 5; 7; 2; 3; 1; 7; 0; 5. |  |
| Q.No.6. | Write short notes on any four: | 4 x 3 = 12 |
| a) | Checking of parallelism |  |
| b) | Importance of Statistical methods in Quality control |  |
| c) | Study of process capability |  |
| d) | Precision and Accuracy |  |
| e) | Vendor Quality Rating |  |

***********