## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Basic Instrumentation-I(4214) [Old Course]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define Instrumentation. What are the objectives of measurement? |  |
| b) | With examples, explain any two modes of classification of transducer. |  |
| c) | What are the types of strain gauges? Compare them. |  |
| d) | Explain construction, principle and characteristic of RTD. |  |
| e) | Explain working principle and details of variable inductance due to change in production of eddy currents. |  |
| f) | Explain working principle and details of variable capacitance due to change in dielectric constant. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the classification of instruments as: |  |
|  | i) Null & deflection types ii) Self generating & power operated |  |
|  | iii) Contacting & non- contacting. |  |
|  | State one example of each. |  |
| b) | Explain the typical applications of a measurement system. |  |
| c) | Write a note on: i) Working standards ii) Indirect calibration. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the principle and operation of: |  |
|  | i) Electromagnetic transducers |  |
|  | ii) Photovoltaic transducers. |  |
| b) | Explain the principle and operation of: |  |
|  | i) Spring ii) Cantilever iii) Diaphragm. |  |
| c) | Explain the construction, characteristics and compare various types of potentiometers. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the application of potentiometer used in pressure and displacement measurement with block diagram, showing output waveform at each stage. |  |
| b) | Explain i) bonding technique used in strain gauge ii) temperature compensation used in strain gauge measurement iii) Strain gauge measurement of pressure. |  |
| c) | Write a note on: LDR and its application in measuring displacement. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the principle and working of various types of inductive transducers. |  |
| b) | Draw block diagram of displacement measuring system using inductive transducers and explain its operation with output waveforms at each stage. |  |
| c) | Explain the principle, construction and operation of LVDT. |  |
|  |  | ……..2/- |
|  | -2- |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the principle and working of various types of capacitive transducers. |  |
| b) | With help of block diagram explain measurement of level using capacitive transducers, with output waveforms at each stage. |  |
| c) | Write a note on single output and differential output in capacitive transducers. |  |

***********