## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Electrical Engg.

Subject: Generation & Transmission(4114)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define i) maximum demand ii) load factor iii) Diversity factor. |  |
| b) | Why do you require thermal shielding and biological shielding in nuclear power plants? |  |
| c) | Discuss the methods of starting standby diesel generator set. |  |
| d) | Give three points of comparison between single circuit design and double circuit design of steel tower structures. |  |
| e) | State any three advantages of bundled conductors. |  |
| f) | What is corona? State the effects of corona. |  |
| g) | What do you mean by sag in overhead lines? State the factors affecting sag. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is an interconnected grid system? State its merits and demerits. |  |
| b) | Write a short note on tidal power generation |  |
| c) | A generating station has maximum demand of 100 MW and daily load as follows. Time(Hrs); 12-6 a.m; 6-8; 8-12; 12-1 p.m; 1-5; 5-7; 7-9; 9-11; 11-12. Load(MW); 20; 35; 80; 30; 75; 85; 100; 45; 20. Plot the load curve. Choose the size and number of generating units and prepare the operating schedule. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of a neat diagram explain the working of a hydroelectric power plant. |  |
| b) | Discuss the types of speed Governors used in a diesel generator set. Also explain any two methods employed for engine cooling in the same. |  |
| c) | Discuss the merits and limitations of HVDC transmission system. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Compare pin type insulators with suspension type insulators. |  |
| b) | A 3 phase overhead transmission line is supported using three disc insulators. Potential across unit near tower is 11KV and potential across middle unit is 15KV. Calculate i) Ratio between shunt capacitance and mutual capacitance ii) Line voltage iii) String efficiency. |  |
| c) | Explain with a neat phasor diagram how characteristics of medium transmission line can be determined using nominal T method. |  |
|  |  | …….2/- |
|  | -2- |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the phenomenon of corona. Also state various method to reduce corona. |  |
| b) | Explain in brief the classification of transmission lines. |  |
| c) | A three phase 50Hz, 11KV line delivers a load of 20,000KW at a power factor of 0.8 lag over a distance of 20Km. Line conductors are placed at the corners of equilateral triangle of 2.2m side. Line losses are 12% of power delivered. Calculate the sending end voltage of line. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a short note on i) Stringing of conductors ii) Skin effect. |  |
| b) | Explain the effect of wind and ice loading on sag of a transmission line. |  |
| c) | The towers of height 40m and 100m respectively support a transmission line conductor at water crossing. Horizontal distance between towers is 500m. If tension in conductor is 1500Kg, find (i) minimum clearance of conductor and water (ii) clearance at mid way between support and water. Weight of conductor is 1.75 Kg/m. Consider bases of tower to be at water level. |  |

***********