## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-II(4194)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | List all the uses of cryogenics in medicine. |  |
| b) | What are damped resonant systems? |  |
| c) | Explain the basic principles of Radiation therapy. |  |
| d) | Explain unbonded strain gauge with a neat diagram. |  |
| Q.No.2. | Answer the following Questions: |  |
| a) | Explain any two respiratory therapy equipments. | (8) |
| b) | Write briefly on any two: - Ultrasonic therapy - Infrared therapy - Short wave therapy | 2 x 2 = 4 |
| Q.No.3. | Answer the following Questions: |  |
| a) | With a neat diagram explain the working of scintillation detector. | (8) |
| b) | Answer any two: - Explain the concept of piezoelectric transducers. - Explain any one photoelectric transducer. - Write briefly on types of thermal transducers. | 2 x 2 = 4 |
| Q.No.4. | Answer the following Questions: |  |
| a) | Explain any two Nuclear medicine imaging devices. | (8) |
| b) | Answer any two: - How is an inverting amplifier different from a non-inverting amplifier? - What is CMRR? - Explain step function. | 2 x 2 = 4 |
| Q.No.5. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | What is a buffer amplifier? |  |
| b) | What is an isolation amplifier? |  |
| c) | Write briefly on ‘Heat and its applications in medicine’. |  |
| d) | Write briefly on Microwave therapy. |  |
| Q.No.6. | Write short note on any three: | 3 x 4 = 12 |
| a) | Gamma Camera |  |
| b) | Fourier series |  |
| c) | Capacitive Transducers |  |
| d) | Photomultiplier tube |  |

***********